# Selenite Cystine broth

It is recommended as a selective enrichment media for Salmonella and possibly Shigella sonnei

from faeces, urine, water and foodstuffs.

| REF: BS.1/CY01.100.0100 100 Gram REF: BS.1/CY01.500.0500 500 Gram | REF: BS.1/CY01.250.0250 250 Gram |
| --- | --- |

# CLINICAL SIGNIFICANCE

Klett (8) first demonstrated the selective inhibitory effects of selenite and Guth (4) used it to isolate Salmonella Typhi. Leifson fully investigated selenite and formulated the media. Selenite Cystine Medium is a modification of Leifsons (9) formula with added cystine (10). Modification of original composition and similar media are recommended by AOAC, APHA, USP etc (1,2,9-13). Enrichment media are routinely employed for detection of pathogens in faecal specimens as the pathogens are present in a very small number in the intestinal flora. Selenite Cystine Broth is useful for detecting Salmonella in the non-acute stages of illness when organisms occur in the faeces in low numbers and for epidemiological studies to enhance the detection of low number of organisms from asymptomatic or convalescent patients (7).

METHOD PRINCIPLE

# Tryptone provides nitrogenous and carbonaceous compounds, long chain amino acids, vitamins and other essential nutrients. Lactose maintains the pH of medium. Selenite is reduced by bacterial growth and alkali is produced. An increase in pH lessens the toxicity of the selenite and results in overgrowth of other bacteria. The acid produced by bacteria due to lactose fermentation serves to maintain a neutral pH. Sodium phosphate maintains a stable pH and also lessens the toxicity of selenite. L-cystine improves recovery of Salmonella. Enriched broth is sub cultured on differential plating media such as Bismuth Sulphite Agar, Brilliant Green Agar, and XLD Agar etc. Do not incubate the broth longer than 24 hours as inhibitory effect of selenite decreases after 6 - 12 hours of incubation

# MEDIA COMPOSITION

| Item | Formula per liter of medium |
| --- | --- |
| - Tryptone - Lactose - Disodium phosphate - L-Cystine | 5.000 gm. 4.000 gm. 10.00 gm. 0.010 gm. |

PRECAUTIONS AND WARNINGS

Media to be handled by entitled and professionally educated person. Do not ingest or inhale.

Good Laboratories practices using appropriate precautions should be followed in:

- Wearing personnel protective equipment (overall, gloves, glasses,).

- Do not pipette by mouth.

- In case of contact with eyes or skin; rinse immediately with plenty of soap and water. In case of severe injuries; seek medical advice immediately.

- Respect country requirement for waste disposal.

S56: dispose of this material and its container at hazardous or special waste collection point.

S57:  use appropriate container to avoid environmental contamination.

S61: avoid release in environment.

For further information, refer to the Selenite Cystine broth material safety data sheet.

# STORAGE AND STABILITY

BioScien Selenite Cysteine broth dehydrated media are stable until expiration date stated on label when properly stored 10-30°C. The prepared medium should be stored at 2-8°C. Use before expiry date on the label. On opening, product should be properly stored dry, after tightly capping the bottle in order to avoid lump development due to the hygroscopic nature of the product. Improper storage of the product may lead to lump formation. Store in a dry ventilated area protected from extremes of temperature and sources of ignition. Seal the container tightly after use. Product performance is best if used within stated expiry period.

Final pH 7.0 ± 0.2 at 25°C

# MEDIA PREPARATION

- Suspend 19.01 grams in 1000 ml purified / distilled water.

- Add 4 grams of sodium hydrogen selenite.

- Adjust pH to 7.0 ± 0.2 at 25°C

- Warm to dissolve the medium completely.

- Distribute in sterile test tubes. Sterilize in a boiling water bath or free flowing steam for 10 minutes.

- DO NOT AUTOCLAVE. Excessive heating is detrimental.

Discard the prepared medium if large amount of selenite is reduced (indicated by red precipitate at the bottom of tube/bottle).

Deterioration

The color of BioScien Selenite Cystine broth is Cream to light yellow homogeneous free flowing powder. If there are any physical changes, discard the medium.

The hydrated medium is Cream to yellow coloured clear solution without any precipitate, media should not be used if there are any signs of deterioration (shrinking, cracking, or discoloration), and contaminations.

# Type of specimen

Clinical samples: faeces, urine

# EQUIPMENT REQUIRED NOT PROVIDED

- Sterile cups

- Sterile test tubes

- Sterile Durham tubes

- Incubator

# PERFORMANCE CHARACTERISTICS

Performance of the medium is expected when used as per the direction on the label within the expiry period when stored at recommended temperature

Fits your perfection

| Test Organisms | Growth | Indole test |
| --- | --- | --- |
| Escherichia coli ATCC 25922 | None to poor | Pink with bile precipitate |
| Salmonella Choleraesuis ATCC 12011 | Luxuriant | Colorless |
| Salmonella Typhi ATCC 6539 | Luxuriant | Colorless |
| Salmonella Typhimurium ATCC 14028 | Luxuriant | Colorless |

| SYMBOLS IN PRODUCT LABELLING |  |  |
| --- | --- | --- |
| IVD | For in-vitro diagnostic use | Number of <n> test in the pack |
| LOT | Batch Code/Lot number | Caution |
| REF | Catalogue Number | Do not use if package is damaged |
|  | Temperature Limitation | Consult Instruction for use |
|  | Expiration Date |  |
|  | Manufactured by |  |

# QUALITY CONTROL

To ensure adequate quality control, it is recommended that positive and negative control included in each run. If control values are found outside the defined range, check the system performance. If control still out of range please contact BioScien technical support.

# REFERENCES

- AOAC, 1978, Bacteriological Analytic Manual, 5th ed., AOAC, Washington, DC

- Baird R.B., Eaton A.D., and Rice E.W., (Eds.), 2015, Standard Methods for the Examination of Water and Wastewater, 23rd ed., APHA, Washington, D.C.

- Chattopadhyay W. and Pilford J. N., 1976, Med.Lab. Sci., 33:191.

- Guth F., 1926, Zbl. Bakt. I. Orig., 77:487.

- Isenberg, H.D. Clinical Microbiology Procedures Handbook. 2nd Edition.

- Jorgensen,J.H., Pfaller , M.A., Carroll, K.C., Funke, G., Landry, M.L., Richter, S.S and Warnock., D.W. (2015) Manual of Clinical Microbiology, 11th Edition. Vol. 1.

- Kelly, Brenner and Farmer, 1985, Manual of Clinical Microbiology, 4th ed., Lennett and others (Eds.), ASM, Washington, D. C.

- Klett A., 1900, Zeitsch Für Hyg. Und. Infekt., 33: 137.

- Leifson E., 1936, Am. J. Hyg., 24(2) : 423.

- North W.R. and Bartran M.T., 1953, Appl. Microbiol., 1:130.

- . Salfinger Y., and Tortorello M.L. Fifth (Ed.), 2015, Compendium of Methods for the Microbiological Examination of Foods, 5th Ed., American Public Health Association, Washington, D.C.

- United States Pharmacopoeia, 2002, USP 25/NF 20, Asian Edition, United States Pharmacopeial Convention, Inc., Rockville, MD.

- Wehr H. M. and Frank J. H., 2004, Standard Methods for the Microbiological Examination of Dairy Products, 17th Ed., APHA Inc., Washington, D.C.

IFU-B-59, Rev. 01 - November 2023